EXPERIMENT REPORT

Adaptive Daylight Controls

Pilot experiment report · August 2026

Research team

Studio Systems Group

HYPOTHESIS

Automated shade positioning was tested against a fixed schedule in two matched studio zones over ten working days.

Method

Two matched studio zones were observed over ten working days: one used a fixed schedule and the other used automated shade positioning.

Results

| Measure | Fixed schedule | Adaptive control | Change |
| --- | --- | --- | --- |
| Glare events / day | 6.4 | 2.1 | −67% |
| Lighting energy | 100% baseline | 82% | −18% |
| Comfort rating | 3.4 / 5 | 4.2 / 5 | +0.8 |

Source: fictional benchmark scenario; values are illustrative.

Interpretation

The adaptive zone recorded fewer glare events in nine of ten test days.

Energy savings were strongest during clear mornings and weakest on overcast days.

No equipment faults or manual overrides were recorded during the pilot.

Limitations

The ten-day duration and two-zone sample limit generalization across seasons and orientations.

Next step

Expand the test to four orientations and retain a manual override log.