FIELD REPORT / 01

Shelter in the Shade

A field report on passive cooling at neighborhood pavilions

| SITE | East Junction Pavilion | PREPARED FOR | Civic Cooling Lab |
| --- | --- | --- | --- |

EXECUTIVE OBSERVATION

Small shade structures can reduce perceived heat without mechanical cooling when material, orientation, and airflow are designed as one system.

Field findings

Deep roof overhangs kept occupied edges comfortable during the hottest observation window.

Timber surfaces reduced glare, while narrow openings preserved cross-ventilation.

Planting worked best as a cooling layer when it did not block prevailing breezes.

Practical recommendations

Orient primary openings toward prevailing summer winds.

Pair high-albedo paving with shaded, low-glare seating surfaces.

Track surface temperature and dwell time during the next six-week pilot.